Building Code Matrix
For use in Part 3 and complex Part 9 builds

Southwest New Brunswick Service Commission

| Item | Detail | Code reference |  |
| --- | --- | --- | --- |
|  |  | Part 3 | Part 9 |
| Occupancy classifications |  |  |  |
| Building area |  |  |  |
| Storeys |  |  |  |
| Building Classification |  |  |  |
| Construction Details and requirements | Element; Required? (Y/N). Sprinklers. Standpipe. Alarm. Non-combustible required. |
| Required FRR | Floors. Mezzanine. Roof. Loadbearing elements. |  |  |
| # of streets/ access routes |  |  |  |
| Occupant load | Total (all floors). Basement. First floor. Second Floor. Third Floor. |  |  |

Spatial separation calculations

NOTE: In many areas of RSC 10, fire department response is often more than 10 min more than 10% of the time. Accordingly, if any storey of the building is not sprinklered, limiting distance may need to be halved for all calculations. [3.2.3.1(8) or 9.10.15.3]

| Building face | Limiting distance | Exposed building face area | Non-combustible wall required? | Wall FRR | Cladding type |
| --- | --- | --- | --- | --- | --- |
| N |  |  |  |  |  |
| E |  |  |  |  |  |
| S |  |  |  |  |  |
| W |  |  |  |  |  |

Egress and exits

|  |  | Part 3 | Part 9 |
| --- | --- | --- | --- |
| Total exits |  |  |  |
| Exit capacity |  |  |  |
| Travel distance to exit |  |  |  |
| Exit signs required | (Y/N) |  |  |

Interior fire separations (Includes janitor’s closets, etc.)

| Room or area | FRR required | Part 3 | Part 9 |
| --- | --- | --- | --- |

Other

| Bathrooms | Female: Male: |  |  |
| --- | --- | --- | --- |

Barrier-free required (Y/N): ____

NECB applies (Y/N): _____